## ARC 2020
PROJECT : UPGRADING OF ARC BUILDING (CY 2020)
LOCATION : PNRI Compound, Commonwealth Avenue, Diliman, Quezon City
OWNER : Philippine Nuclear Research Institute (PNRI)
SUBJECT : DETAILED COST ESTIMATE
Item No. | ITEM/DESCRIPTION | QTY | UNIT | MATERIAL COST |  | LABOR COST |  | ESTIMATED | MARK-UPS IN PERCENT |  |  | TOTAL MARK-UP |  | VAT | TOTAL | TOTAL | UNIT
No. |  |  |  | UNIT COST | TOTAL COST | UNIT COST | TOTAL COST | DIRECT COST | CONT. | OCM | PROFIT | % | VALUE |  | INDI. COST | COST | COST
A | GENERAL REQUIREMENTS
1 | Mobilization/Demobilization (Manpower, Tools, materials and equipment | 1 | lot
2 | Bonds/Insurance | 1 | lot
3 | Temporary Facilities | 1 | lot
4 | As-Built plan | 1 | lot
5 | Project Billboard | 1 | lot
Sub-total
I. | NORTH WING ROOFDECK, ARC BLDG.
B | ARCHITECTURAL AND CIVIL WORKS
B.1 | SITEWORKS
1 | Site cleaning and clearing, hauling and disposal of stored | 1 | lot
waste materials
2 | Chipping of concrete floor topping for the installation of | 16 | pcs
column base plate (0.50m x 0.50m x 0.05m)
3 | Concrete cutting | 160 | LM
4 | (20mmØ x 400mm) concrete drilling hole | 128 | pcs
5 | Cutting and provision of hole on ceiling and roofing of | 3 | sets
existing bldg. and restoration
6 | Cleaning and disposal of concrete debris | 1 | lot
Sub-total
B.2 | STRUCTURAL WORKS
1 | Fabrication and installation of B.I pipe columns
1.1 | 8"Ø x 20ft. X 8.2mm thk B.I pipe | 16 | pcs
1.2 | (0.50m x 0.50m x 3/4" thk) Base plate w/ 8-holes | 16 | pcs
1.3 | (0.30m x 0.30m x 1/2" thk) Top plate | 16 | pcs
1.4 | (0.10m x 0.20m x 3/8" thk) Bracket plate | 128 | pcs
1.5 | (0.05m x 0.20m x 3/8" thk) Bracket plate | 64 | pcs
1.6 | 20mmØ x 400mm High tensile chemical | 128 | pcs
Capsule adhesive anchor bolt w/ nut and washet (HILTI)
1.8 | Welding rod | 6 | box
1.9 | Oxygen and acetylene gas | 6 | sets
1. 10 | Miscellaneous | 1 | lot
1.11 | Asstd. Drill bit | 1 | lot
1.12 | Welding machine, Electric drill, Cutting outfit, tanks | 1 | lot
demolition hammer, grinder etc. (Rental)
1.13 | Grinding disc 4"Ø | 20 | pcs
1.14 | Cutting disc 14"Ø | 3 | pcs
1.15 | Cutting disc 4"Ø | 30 | pcs
1.16 | 4" x 8" x 1/4" steel bracket plate | 16 | pcs
2 | Fabrication and installation of steel trusses girts, roof frame
and facade frame
2.1 | 3" x 3" x 1/4" x 20' Angular bar | 105 | pcs
2.2 | 3" x 3" x 3/16" x 20' Angular bar | 135 | pcs
2.3 | 2" x 2" x 3/16" x 20' Angular bar | 248 | pcs
2.4 | 1/2" x 6" x 36" Steel plate | 9 | pcs
2.5 | 20mmØ x 6.00m Plain round bar | 41 | pcs
2.6 | 20mmØ Turn buckle | 26 | pcs
2.7 | 12mmØ x 6.00m plain round bar | 38 | pcs
2.8 | Welding rod | 12 | box
2.9 | Grinding disc | 21 | pcs
2. 10 | Cutting disc 14"Ø | 6 | pcs
2.11 | Cutting disc 4"Ø | 30 | pcs
2.12 | Epoxy top coat paint two (2) coats | 5 | tin
2.13 | Epoxy primer paint | 3 | tin
2.14 | Turco rust converter | 2 | tin
2.15 | Paint brush and roller | 1 | lot
2.16 | Epoxy thinner | 2 | tin
2.17 | Steel brush | 5 | pcs
2.18 | 2" x 4" x 1.5mm thk x 20' B.I C-purlins | 238 | pcs
2.19 | 1 1/2" x 1 1/2" x 1.5mm x 20' Square tubular pipe | 91 | pcs
2. 20 | 2" x 2" x 1/4" x 20' Angular bar | 24 | pcs
2.21 | Heavy duty crane | 50 | hrs
"₱2,800/hour (Rental) for lifting and installation of
heavy steel columns, Girts and trusses"
2.22 | Mobilization and demobilization of crane | 1 | lot
2.23 | 1 1/2" x 1 1/2" x 3/16" x 20' Angular bar | 34 | pcs
2.24 | 0.30m x 12mm x 2.44m Ficem board | 17 | pcs
2.25 | Black screw | 1000 | pcs
2.26 | 1.22 x 2.44 x 12mm thk ficem board | 13 | pcs
Sub-total
B.3 | TINSMITHRY WORKS
1 | Supply and installation of pre-painted long span roofing
and accessories
1.1 | 1.09m x 8.00m x 0.40mm thk pre-painted rib-type | 72 | pcs
long span roofing
1.2 | 1.09m x 15m x 0.40mm thk pre-painted rib-type | 10 | pcs
long span roofing
1.3 | 0.60m x 1.22m x 0.40mm thk pre-painted ridge roll | 19 | pcs
1.4 | 1.22m x 2.44 x 0.40mm pre-painted plain sht | 84 | pcs
1.5 | 3 1/2" metal texscew w/ rubber o-ring | 1450 | pcs
1.6 | Silicon sealant tube | 10 | pcs
1.7 | Vulca seal | 1 | gal
1.8 | Aluminum blind rivets | 5 | box
1.9 | Concrete nail assorted size | 2 | kg
1. 10 | 12mm thk x 50m x 1.00m Polythelene Foam insulation | 17 | rolls
w/ Aluminum foil on both side
1.11 | G.I wire mesh (1" x 1") | 820 | sq.m
1.12 | Ducting tape and rubber cement | 1 | lot
1.13 | Miscellaneous | 1 | lot
2 | Supply and installation of metal spandrel façade
2.1 | (0.15m x 1.40m x 0.40mm thk) Pre-painted metal spandrel | 690 | pcs
(brown)
2.2 | Aluminum blind rivets asstd. | 16 | box
2.3 | (0.30m x 2.44m x 0.40mm) Pre-painted top & bottom cap | 95 | pcs
2.4 | (0.30m x 2.44m x 0.40m) Pre-painted corner cap | 8 | pcs
2.5 | Installation of steel scaffolding and accessories | 15 | days
around the roofdeck.
"24 sets x ₱150.00/set (Rental) including mobilization
and demobilization"
Sub-total
B.4 | REINFORCED CONCRETE AND MASONRY WORKS
1 | Installation of CHB walls w/ reinforced concrete
pedestal and beams
1.1 | Chipping of concrete topping (0.05m x 0.20m) | 78 | lm
1.2 | Concrete (1:2:3 mixture) | 8.72 | cu.m
1.3 | 16mmØ x 6.00m def.bar | 127 | pcs
1.4 | 10mmØ x 6.00m def.bar | 85 | pcs
1.5 | G.A16 G.I Wire | 20 | kgs
1.6 | 6" x 8" x 16" CHB Ordinary | 585 | pcs
1.7 | 1" thk concrete wall plastering | 196 | sq.m
1.8 | 1/2" x 4' x 8' ordinary plywood | 12 | pcs
1.9 | Asstd. Coco lumber | 410 | bd.ft
1. 10 | Asstd. C.w nail | 10 | kgs
1.11 | Welding rod | 1 | box
1.12 | Portland cement | 37 | bags
1.13 | White sand | 6 | cu.m
1.14 | Chipping of concrete wall (0.20 x 1.00m) | 8 | lm
1.15 | 12mmØ x 6.00m def.bar | 32 | pcs
Sub-total
II. | SOUTH WING ROOFDECK, ARC BLDG.
C.1 | SITEWORKS
1 | Site cleaning and clearing, hauling and disposal of stored | 1 | lot
waste materials
2 | Chipping of concrete floor topping for the installation of | 19 | pcs
column base plate (0.50m x 0.50m x 0.05m)
3 | Concrete cutting | 206 | LM
4 | (20mmØ x 400mm) Concrete drilling | 152 | pcs
5 | Cutting and provision of hole on ceiling and roofing of | 6 | pcs
existing bldg. and restoration including materials
6 | Cleaning and disposal of concrete debris | 1 | lot
Sub-total
C.2 | STRUCTURAL WORKS
1 | Fabrication and installation of B.I Pipe columns
1.1 | 8"Ø x 20ft. x 8.2mm thk B.I Pipe | 16 | pcs
1.2 | 10"Ø x 20ft. x 8.2mm thk B.I Pipe | 3 | pcs
1.3 | (0.50m x 0.50m x 3/4" thk) Base plate w/ 8-holes | 13 | pcs
1.4 | (0.30m x 0.30m x 1/2" thk) Top plate | 19 | pcs
1.5 | (0.40m x 0.40m x 1/2" thk Top plate | 6 | pcs
1.6 | (0.10m x 0.20m x 3/8" thk) Bracket plate | 152 | pcs
1.7 | (0.05m x 0.20m x 3/8" thk) Bracket plate | 100 | pcs
1.8 | 20mmØ x 400mm High tensile chemical capsule | 152 | pcs
adhesive bolt w/ nut and washer (HILTI)
1.9 | 4" x 8" x 1/4" steel bracket plate | 40 | pcs
1. 10 | Welding rod | 5 | box
1.11 | Oxygen and Acetylene gas | 7 | set
1.12 | Miscellaneous | 1 | lot
1.13 | Cutting disc 4"Ø | 35 | pcs
1.14 | Cutting disc 14"Ø | 3 | pcs
1.15 | Grinding disc 4"Ø | 25 | pcs
1.16 | Asstd. Drill bit | 1 | lot
1.17 | Welding machine, Electric drill, Cutting outfit, tanks | 1 | lot
demolition hammer, Grinder etc. (Rental)
1.18 | Miscellaneous | 1 | lot
2 | Fabrication and installation of steel trusses, Girts, Roof
frames and façade frames
2.1 | 3" x 3" x 1/4" x 20' Angular bar | 122 | pcs
2.2 | 3" x 3" x 3/16" x 20' Angular bar | 157 | pcs
2.3 | 2" x 2" x 3/16" x 20' Angular bar | 273 | pcs
2.4 | 1/2" x 6" x 36" Steel plate | 11 | pcs
2.5 | 20mmØ x 6.00m plain round bar | 54 | pcs
2.6 | 20mmØ Turn buckle | 19 | pcs
2.7 | 12mmØ x 6.00m plain round bar | 60 | pcs
2.8 | Welding rod | 15 | box
2.9 | Grinding disc | 25 | pcs
2. 10 | Cutting disc 14"Ø | 6 | pcs
2.11 | Cutting disc 4"Ø | 35 | pcs
2.12 | Epoxy primer paint | 3 | tin
2.13 | Epoxy Top coat paint two (2) coats | 5 | tin
2.14 | Turco rust converter | 2 | tin
2.15 | Paint brush and roller | 1 | lot
2.16 | Epoxy thinner | 2 | tin
2.17 | Steel brush | 5 | pcs
2.18 | 2" x 4" x 1.5mm thk x 20' B.I C-purlins | 273 | pcs
2.19 | 1 1/2" x 1 1/2" 1.5mm x 20' Square tubular pipe | 118 | pcs
| 2" x 2" x 1/4" x 20' Angular bar | 31 | pcs
2. 20 | Heavy duty crane | 60 | hrs
"₱2,800/hour (Rental) for lifting and installation of
heavy steel columns, Girts and trusses"
2.21 | Mobilization and demobilization of crane | 1 | lot
2.22 | 1 1/2" x 1 1/2" x 3/16" x 20' Angular bar | 36 | pcs
2.23 | 0.30m x 12mm x 2.44m Ficem board | 28 | pcs
2.24 | Black screw | 1000 | pcs
2.25 | 1.22 x 2.44 x 12mm thk ficem board | 5 | pcs
Sub-total
C.3 | TINSMITHRY WORKS
1 | Supply and installation of Pre-painted long span roofing
and accessories
1.1 | 1.09m x 14m x 0.40mm thk. Pre-painted rib type long span | 30 | pcs
roofing (Green)
1.2 | 1.09m x 2.00m x 0.40mm thk. Pre-painted rib type long | 12 | pcs
span roofing
| 1.09m x 13.50m x 0.40mm thk Pre-painted rib type | 28 | pcs
long span roofing
1.3 | 0.60m x 1.22m x 0.40mm thk. Pre-painted ridge roll (Green) | 15 | pcs
1.4 | 12mm thk x 50m x 1.00m polythelene foam insulation | 20 | rolls
with aluminum foli on both side
1.5 | (1" x 1") G.I wire mesh | 950 | sqm
1.6 | 1.22m x 2.44m x 0.55mm Pre-painted plain sht. | 83 | pcs
1.7 | 3 1/2" metal texscrew w/ rubber o-ring | 1763 | pcs
1.8 | Silicon Sealant tube | 12 | pcs
1.9 | Vulca seal | 1 | gal
1. 10 | Aluminum blind revits | 7 | box
1.11 | Asstd. Concrete nail | 2 | kgs
1.12 | Rubber sealant and duct tape | 1 | lot
1.13 | Miscellaneous | 1 | lot
2 | Supply and installation of Metal Spandrel Façade
2.1 | (0.15m x 1.40m x 0.40mm thk) Pre-painted metal | 740 | pcs
spandrel (Brown)
2.2 | (0.30m x 2.44m x 0.40mm) Pre-painted top and bottom cap | 102 | pcs
2.3 | (0.30m x 2.44m x 0.40mm) Pre-painted corner cap | 8 | pcs
2.4 | Aluminum blind revits | 20 | box
2.5 | Silicon sealant | 10 | pcs
2.6 | Steel scaffoldings and accessories (Rental) | 17 | days
"24 sets x ₱150.00/set including mobilization and
demobilization"
3 | Installation of stainless steel gutter w/ PVC downspout
3.1 | 4' x 8' stainless steel sht. Type 304 G.A 24 | 6 | pcs
3.2 | 6"Ø x 10' S-1000 PVC Pipe neltex | 4 | pcs
3.3 | 6"Ø PVC Elbow Neltex | 4 | pcs
3.4 | 4"Ø x 10' S-1000 PVC Pipe neltex | 4 | pcs
3.5 | 4"Ø PVC Elbow neltex | 4 | pcs
3.6 | Neltex PVC cement | 1 | lit
3.7 | Aluminum blind rivet | 1 | box
3.8 | Vulcaseal | 1 | lit
3.9 | Stainless clamp | 1 | lot
4 | Installation of additional pipe ducting extension
4.1 | 8"Ø x 10' S-1000 PVC Pipe neltex | 4 | pcs
4.2 | 8"Ø PVC Coupling neltex | 2 | pcs
4.3 | 8"Ø PVC Elbow neltex | 4 | pcs
4.4 | PVC Cement | 1 | lit
4.5 | Stainless steel clamp w/ stainless bolt | 1 | lot
4.6 | Stainless steel cap | 2 | pcs
4.7 | Stainless steel strainer | 2 | pcs
Sub-total
C.4 | REINFORCED CONCRETE AND MASONRY WORKS
1 | Installation of CHB walls w/ reinforced concrete
pedestal and beams
1.1 | Chipping of concrete topping (0.05m x 0.20m) | 159 | LM
1.2 | Concrete (1:2:3 mixture) | 8.52 | cu.m
1.3 | 16mmØ x 6.00m def. bar | 118 | pcs
1.4 | 10mmØ x 6.00m def. bar | 97 | pcs
1.5 | G.A 16 G.I wire | 22 | kgs
1.6 | 6" x 8" x 16" CHB Ordinary | 595 | pcs
1.7 | 1" thk concrete wall plastering (Interior and exterior) | 182 | sq.m
1.8 | 1/2" x 4' x 8' Ordinary plywood | 12 | pcs
1.9 | Asstd. Coco lumber | 450 | bd.ft
1. 10 | Asstd. C.w Nail | 6 | kgs
1.11 | Welding rod | 1 | box
1.12 | White sand | 7 | cu.m
1.13 | Chipping of concrete wall | 12 | LM
1.14 | Portland cement | 40 | pcs
1.15 | 12mmØ x 6.00m def. bar | 26 | pcs
Sub-total
III. | REHABILITATION OF 2ND FLOOR WEST WING
D | ELECTRICAL WORKS
D.1 | Supply and installation of new Electrical Panelboards MDP, MP1 and MP2 as indicated in the electrical plan.
1.1 | Panelboard MPD, 200A, 3P, 230V 25 KAIC, Main CB, Industrial Type with Branches Circuit Breaker: 2 sets 100A, 3P, 230V CB, Industrial Type CB, 1 set 60A, 3P, 230V CB, Industrial Type CB, with ground terminal | 1 | lot
1.2 | Panelboard MP1, 100A, 3P, 230V 22 KAIC, Main CB, Industrial Type with Branches Circuit Breaker: 2 sets 40A, 3P, 230V CB, Bolt-on Type, 4 sets 30A, 2P, 230V CB, Bolt-on Type, 15 sets 20A, 2P, 230V CB, Bolt-on Type, with ground terminal | 1 | lot
1.3 | Panelboard MP2, 100A, 3P, 230V 22 KAIC, Main CB, Industrial Type with Branches Circuit Breaker: 1 sets 40A, 3P, 230V CB, Bolt-on Type, 2 sets 30A, 2P, 230V CB, Bolt-on Type, 8 sets 20A, 2P, 230V CB, Bolt-on Type, 7 sets 15A, 2P, 230V CB, Bolt-on Type, with ground terminal | 1 | lot
1.4 | Miscellaneous (provision for ground rod and cables) | 1 | lot
Sub-total
D.2 | Supply and installation of MP1 distribution circuits
2.1 | 8.0 mm2 THHN/THWN wire (100m/roll) | 2 | rolls
2.2 | 5.5 mm2 THHN/THWN wire | 7 | rolls
2.3 | 3.5 mm2 THHN/THWN wire | 2 | rolls
2.4 | 2.0 mm2 THHN/THWN wire | 4 | rolls
2.5 | 15 mmØ RSC pipe with coupling | 175 | pcs.
2.6 | 15 mmØ RSC locknut and bushing | 193 | pcs.
2.7 | 20 mmØ RSC pipe, nichi brand, schedule 40, zinc coated | 25 | pcs.
2.8 | 20 mmØ locknut and bushing | 19 | pcs.
2.9 | 4 11/16" x 4 11/16" Square Box, metallic with cover | 12 | pcs.
2.1 | 4" Ø octagonal box with cover | 51 | pcs.
2.11 | 2"x4" Utility Box | 38 | pcs.
2.12 | Special Outlet, L6-20P, 20A, 250V (twist lock) | 1 | pcs.
2.13 | Floor Mounted Outlet, 16A, 230V, Panasonic | 4 | sets
2.14 | Duplex Convenience Outlet with ground | 38 | pcs.
2.15 | ECB with 30A, 2P, 230V, 22 KAIC, Bolton-on type circuit breaker, NEMA 3 | 5 | sets
2.16 | ECB with 40A, 3P, 230V 22 KAIC, Bolton-on type circuit breaker, NEMA 3 | 2 | sets
2.17 | Miscellaneous (Wire Gutter) | 1 | lot
2.18 | Miscellaneous (support for rsc pipes) | 1 | lot
Sub-total
D.3 | Supply and installation of MP2 distribution circuits
3.1 | 8.0 mm2 THHN/THWN wire (100m/roll) | 1 | roll
3.2 | 5.5 mm2 THHN/THWN wire | 3 | rolls
3.3 | 3.5 mm2 THHN/THWN wire | 10 | rolls
3.4 | 2.0 mm2 THHN/THWN wire | 3 | rolls
3.5 | 15 mmØ RSC pipe with coupling | 215 | pcs.
3.6 | 15 mmØ RSC locknut and bushing | 357 | pcs.
3.7 | 20 mmØ RSC pipe, nichi brand, schedule 40, zinc coated | 31 | pcs.
3.8 | 20 mmØ locknut and bushing | 40 | pcs.
3.9 | 4 11/16" x 4 11/16" Square Box, metallic with cover | 7 | pcs.
3.1 | 4" Ø octagonal box with cover | 122 | pcs.
3.11 | 2"x4" Utility Box | 85 | pcs.
3.12 | Single pole switch with cover | 4 | sets
3.13 | 2 Gang Switch with cover | 6 | sets
3.14 | 3-Gang Switch with cover | 1 | set
3.15 | Three way switch with cover | 4 | sets
3.16 | Four way switch with cover | 1 | set
3.17 | Exhaust Fan, 12" diameter, ceiling type | 2 | sets
3.18 | Mica tube, 1" diameter | 20 | m
3.19 | Special Outlet, L6-20P, 20A, 250V (twist lock) | 1 | pc.
3.2 | Floor Mounted Outlet, 16A, 230V, Panasonic | 4 | sets
3.21 | Duplex Convenience Outlet with ground | 49 | pcs.
3.22 | ECB with 30A, 2P, 230V, 22 KAIC, Bolton-on type circuit breaker, NEMA 3 | 2 | sets
3.23 | ECB with 40A, 3P, 230V 22 KAIC, Bolton-on type circuit breaker, NEMA 3 | 1 | sets
3.24 | Miscellaneous (Wire Gutter) | 1 | lot
3.25 | Miscellaneous (support for rsc pipes) | 1 | lot
Sub-total
D.4 | Supply and installation of Fire Alarm System
4.1 | 1.25 mm2 TF wire, 150m/roll, black and red color | 1 | roll
4.2 | 15 mmØ uPVC pipe | 38 | pcs.
4.3 | 15 mmØ uPVC adapter with locknut | 40 | pcs.
4.4 | 4" Ø octagonal box with cover, uPVC | 21 | pcs.
4.5 | Mica tube, 1" diameter | 5 | m
Sub-total
D.5 | Supply and installation of CCTV System
5.1 | 150mm x 150mm x 100mm pullbox with cover, pre-painted | 4 | pcs.
5.2 | 4" octagonal box, uPVC | 7 | pcs.
5.3 | 20 mmØ uPVC pipe | 44 | pcs.
5.4 | 20 mmØ uPVC adapter with locknut | 14 | pcs.
5.5 | Mica tube, 1" diameter | 3 | m
5.6 | Duplex convenience outlet with cover | 2 | pcs.
5.7 | RG 59 Siamese Coaxial Cable (300m/roll), 75ohms impedance, solid copper core/inner conductor and 95% copper braiding | 1 | roll
Sub-total
D.6 | Supply and installation of Telephone and Local Area Network (LAN) System
6.1 | Fiber Optic Cable, 4 cores, multi-mode, 150m/roll | 1 | roll
6.2 | Media Converter, D-Link Multi-mode with SC connector, Model OV-1000TSC | 2 | sets
6.3 | Fiber Optic Patch Panel/Optical Distribution Frame, 8 Port Fully Loaded, 230x230x60/0.9 (mm), SC type, multi-mode, Duplex and Wall type | 2 | pc.
6.4 | Fiber Optic Patch cord, Multi Duplex, 3m, Core diameter 900um, Sheath Colour:Blue | 4 | pcs.
6.5 | Fiber Optic Cable Connectors (SC) | 2 | pairs
6.6 | 28 - Port Gigabit Smart Managed PoE Switch, DGS-1210-28P | 1 | set
6.7 | Ubiquiti Unifi Access Point, Model: UAP-AC-LR, Long Range | 2 | sets
6.8 | LAN Outlet (RJ45) with cover , wide series, CAT5E, panasonic brand | 15 | pcs.
6.9 | UTP cable, Cat 6 (305m/box), Belden | 2 | boxes
6.1 | Telephone Outlet with cover, panasonic brand | 7 | pcs.
6.11 | Telephone jacketed wires, #22/4C, 65mm (75m/roll) | 3 | rolls
6.12 | Telephone cable Black Sheath, 20 pairs, 40 core CW1128 | 200 | m
6.13 | Telephone Terminal Cabinet, 3R, 457mm x 457mm x 152mm | 1 | set
6.14 | Pull Boxes, 200mm x 200mm x 100mm (PB1) | 8 | pcs.
6.15 | Pull Boxes, 350mm x 350mm x 200mm (PB2) | 11 | pcs.
6.16 | Black Data Cabinet (PB3), 400mm x 300mm x 300mm | 1 | set
6.17 | 20 mmØ uPVC pipe | 47 | pcs.
6.18 | 20 mmØ uPVC adapter with locknut | 68 | pcs.
6.19 | 25 mmØ uPVC pipe | 15 | pcs.
6.2 | 25 mmØ uPVC adapter with locknut | 3 | pcs.
Sub-total
D.7 | Supply and installation of Telephone and Local Area Network (LAN) System
I. | CIVIL WORKS:
1 | Excavation including site clearing | 9.8 | cu.m
2 | Concrete cutting | 18 | LM
3 | Concrete demolition (0.25m width) | 9 | m
4 | Formworks
4.1 | 1/2" x 4' x 8' Ordinary plywood | 2 | pcs
4.2 | 2" x 2" x 12' Coco lumber | 5 | pcs
4.3 | Asstd. C.W Nail | 2 | kg
5 | Back filling and compaction | 7 | cu.m
6 | Cleaning and disposal of concrete debris | 1 | lot
7 | Reinforced concrete works
7.1 | 3,000 Psi concrete (1:2:3 mixture) | 3.1 | cu.m
7.2 | 12mmØ x 6.00m def.bar | 12 | pcs
7.3 | 10mmØ x 6.00m def.bar | 6 | pcs
7.4 | G.A 16 G.I Wire | 2 | kg
7.5 | Gravel bedding | 1 | cu.m
Sub-total
TOTAL
Note on A363: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Minor changes to match with the scope of work in the PBD for ARC 2020
Note on R6: Bobot Dean: